List of Equipment, Instrument and Measuring Devices

Note: Instruments/Equipments highlighted in green colour were transferred from Perrigo.

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
| Analytical Balance | RDBAL-01 | Mettler Toledo | XP205 | B039071728 | 18/06/2019 |
|  | RDBAL-01/01 | Mettler Toledo | GA42 Printer | 512246912 |  |
| Analytical Balance | RDBAL-04 | Mettler Toledo | XP 205 | B227088358 | 18/06/2019 |
|  | RDBAL-04/01 | Mettler Toledo | RS-P42 Printer | B037068485 |  |
| Analytical Balance | ARDBAL-03 | Mettler Toledo | XPR26 | B934145293 | 06/03/2020 |
|  | ARDBAL-03/01 |  | P-52RUE | J223100191 |  |
| Analytical Balance | ARDBAL-04 | Mettler Toledo | XPR205 | C-344060085 | 22/03/2024 |
|  | ARDBAL-04/01 |  | P-52RUE | J223100186 |  |
| Analytical Balance | ARDBAL-05 | Mettler Toledo | XPR6UD5 | C-414878083 | 18/06/2024 |
|  | ARDBAL-05/01 |  | P-52RUE | J223100060 |  |
| Halogen moisture Analyser | RDHMA-01 | Mettler Toledo | HX204 | B22084422 | 07/07/2019 |
|  | RDHMA-01/01 | Mettler Toledo | LC-P45 Printer | B032057571 |  |
| Vacuum oven | RDVO-01 | Thermolab | TV00000456 | 556/10/10-11 | 29/04/2019 |
| Drying Oven | RDDO-01 | Thermolab | T00000 2006 | 542/10/10-11 | 15/02/2019 |
| Burette | ARDBT-01 | Mettler Toledo | -- | 16601911 | - |
| Burette | ARDBT-03 | Mettler Toledo | -- | 112308212 | - |
| Burette | ARDBT-04 | Mettler Toledo | -- | 94308212 | - |
| Burette | ARDBT-05 | Mettler Toledo | -- | 2160082136 | - |
| Burette | ARDBT-06 | Mettler Toledo | -- | 109002242 | - |
| Double platinum electrode | ARDEL-01 | Mettler Toledo | DMi143-SC | 3114569 | - |
| Double platinum electrode | ARDEL-02 | Mettler Toledo | DMi143-SC | 9170514 | - |
| Combined Glass pH Electrode | ARDEL-05 | Mettler Toledo | DGi113-SC | 7025381 | - |
| Combined platinum ring redox electrode | ARDEL-07 | Mettler Toledo | DMi140-SC | 1272548 | - |
| Combined Glass pH Electrode | ARDEL-08 | Mettler Toledo | DGi113-SC | 7012518 | - |
| Double platinum electrode | ARDEL-09 | Mettler Toledo | DMi143-SC | 1263271 | - |
| Silver ring Electrode | ARDEL-10 | Mettler Toledo | DMi140-SC | 3460470 | - |
| Combined Glass pH Electrode | ARDEL-13 | Mettler Toledo | DGi113-SC | 4453603 | - |
| Combined Glass pH Electrode | ARDEL-15 | Mettler Toledo | DGi111-SC | 2426764 | - |
| Combined Glass pH Electrode | ARDEL-16 | Mettler Toledo | DMi141-SC | 2405193 | - |
| Combined Glass pH Electrode | ARDEL-17 | Mettler Toledo | DMi143-SC | C409689703 | - |
| Analytical weight Box | RDWB-01 | Mettler Toledo | 158847 | B101100924 | 07/06/2019 |
| Analytical weight Box | ARDWB-01 | Mettler Toledo | 158846 | MM2400156 | 16/09/2024 |
| Micro Pipette | RDMPT-01 | Brand | -- | 06K91507 | 18/06/2019 |
| Micro Pipette | RDMPT-02 | Brand | -- | 04K60055 | 18/06/2019 |
| Micro Pipette | RDMPT-03 | Thermo | -- | LW02805 | 18/06/2019 |
| Micro Pipette | RDMPT-04 | Eppendorf | -- | 2546669 | 18/06/2019 |
| Micro Pipette | ARDMPT-01 | Brand | -- | 18J13384 | - |
| Micro Pipette | ARDMPT-02 | Brand | -- | 17L39532 | - |
| Micro Pipette | ARDMPT-03 | Borosil | -- | PB124932 | - |
| Micro Pipette | ARDMPT-04 | Borosil | -- | PL324659 | - |
| Micro Pipette | ARDMPT-05 | Borosil | -- | QA324993 | - |
| Micro Pipette | ARDMPT-09 | Brand | -- | 20M93235 | - |
| Micro Pipette | ARDMPT-10 | Microlit Nero | -- | 23406300 | - |
| Micro Pipette | ARDMPT-11 | Microlit Nero | -- | 23406323 | - |
| HPLC | Detector-RDHPLC-03/00 | Agilent | G1314F 1260 VWD | DEABB02353 | 01/03/2019 |
|  | Column Oven-RDHPLC-03/01 |  | G1316A 1260 TCC | DEACN09804 |  |
|  | Thermostat-RDHPLC-03/02 |  | G1330B 1290 Thermostat | DEBAK06178 |  |
|  | Auto Sampler-RDHPLC-03/03 |  | G1329B 1260 ALS | DEAAC08803 |  |
|  | Pump- RDHPLC-03/04 |  | G1311B 1260 Quat Pump | DEAB703539 |  |
|  | Tray- RDHPLC-03/05 |  | - | - |  |
| HPLC | Detector-RDHPLC-04/00 | Agilent | G1315C 1260 DAD VL+ | DEAA200966 | 01/03/2019 |
|  | Column Oven-RDHPLC-04/01 |  | G1316A 1260 TCC | DEACN09801 |  |
|  | Thermostat-RDHPLC-04/02 |  | G1330B 1290 Thermostat | DEBAKO6165 |  |
|  | Auto sampler- RDHPLC-04/03 |  | G1329B 1260 ALS | DEAAC08805 |  |
|  | Pump- RDHPLC-04/04 |  | G1311B 1260 Quat.Pump | DEAB703543 |  |
|  | Tray- RDHPLC-04/05 |  | - | - |  |
| HPLC | Detector-RDHPLC-05/00 | Agilent | G1314F 1260VWD | DEABB04562 | 18/06/2019 |
|  | Column Oven- RDHPLC-05/01 |  | G1316A 1260TCC | DEACN15332 |  |
|  | Thermostat- RDHPLC-05/02 |  | G1330B 1290 Thermostat | DEBAK10517 |  |
|  | Auto sampler- RDHPLC-05/03 |  | G1329B 1260 ALS | DEAAC14017 |  |
|  | Pump- RDHPLC-05/04 |  | G1311B 1260 Quat Pump | DEAB705656 |  |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
|  | RDHPLC-05/05 |  | - | - |  |
| HPLC | Detector- RDHPLC-06/00 | Agilent | G1315C 1260DAD VL+ | DEAA201374 | 01/03/2019 |
|  | Column Oven- RDHPLC-06/01 |  | G1316A 1260 TCC | DEACN15327 |  |
|  | Thermostat- RDHPLC-06/02 |  | G1330B 1290 Thermostat | DEBAK10519 |  |
|  | Auto sampler- RDHPLC-06/03 |  | G1329B 1260ALS | DEAAC14030 |  |
|  | Pump- RDHPLC-06/04 |  | G1311B 1260 Quat Pump | DEAB705667 |  |
|  | CAD Detector RDHPLC-06/05 |  | Corona Veo RS | 819512 |  |
| HPLC | Detector-ARDHPLC-06/00 | Agilent | G1315B | DE63056570 | 18/06/2019 |
|  | Thermostat-ARDHPLC-06/01 |  | G1316A | DE63059422 |  |
|  | Autosampler-ARDHPLC-06/02 |  | G1329A | DE60558249 |  |
|  | Pump- ARDHPLC-06/03 |  | G1311A | DE62957504 |  |
|  | Degasser-ARDHPLC-06/04 |  | G1322A | JP62354924 |  |
| HPLC | Detector-ARDHPLC-07/00 | Agilent | G1315D | DE64255256 | 18/06/2019 |
|  | Thermostat-ARDHPLC-07/01 |  | G1316A | DE63061099 |  |
|  | Autosampler-ARDHPLC-07/02 |  | G1329A | DE64760345 |  |
|  | Pump- ARDHPLC-07/03 |  | G1311A | DE62959426 |  |
|  | Degasser-ARDHPLC-07/04 |  | G1322A | JP62356871 |  |
| HPLC | Detector- ARDHPLC-08/00 | Agilent | G1315D | DEAAXO1447 | 18/06/2019 |
|  | Thermostat-ARDHPLC-08/01 |  | G1316A | DEAAKO4998 |  |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
|  | Autosampler- ARDHPLC-08/02 |  | G1329B | DEABEO4293 | 18/06/2019 |
|  | Pump- ARDHPLC-08/03 |  | G1311C | DEABJO2110 |  |
| HPLC | HPLC System-ARDHPLC-09/00 | Waters Alliance | E 2695 | E15HSC393A | 18/06/2019 |
|  | Column Oven-ARDHPLC-09/01 |  | -- | E19SMC077G |  |
|  | PDA Detector-ARDHPLC-09/02 |  | 2998 PDA Detector | E15998354A |  |
| HPLC | HPLC System-ARDHPLC-10/00 | Waters Alliance | E 2695 | D15SHC317A | 18/06/2019 |
|  | Column Oven-ARDHPLC-10/01 |  | -- | E19SMC082G |  |
|  | PDA Detector-ARDHPLC-10/02 |  | 2489 UV Visible Detector | D1587E098A |  |
| HPLC | ARDHPLC-11 | Shimadzu | LC2030C 3D Plus (Prominance-i) PDA | L214557 11738 | 18/05/2020 |
| HPLC | ARDHPLC-12 | Shimadzu | LC2030C Plus (Prominance-i) UV | L214457 82748 | 18/05/2020 |
| UPLC | Pump- ARDUPLC-01/00 | Waters | PUMP-Acquity H | E15QSM680A | 18/06/2019 |
|  | Autosampler-ARDUPLC-01/01 |  | Autosampler-Acquity H | D15SD1 430G |  |
|  | Column Oven-ARDUPLC-01/02 |  | Column Manager | E19CMP713G |  |
|  |  |  | Column Manager Aux | D19CMX752G |  |
|  | Detector-ARDUPLC-01/03 |  | UPLC Detector (PDA) | D15UPD 157A |  |
| GC | RDGC-03 | Agilent | 7890 A | -- | 31/06/2019 |
|  | GC System- RDGC-03/00 |  | G3440A | CN12301068 |  |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
|  | CTC- RDGC-03/01 |  | GC Sampler 80 (G6501B) | CH00389167 |  |
| GC | Head Space- ARDGC-02/00 | Agilent | 7890A (G3440A) | CN10816118 | 18/06/2019 |
|  | CTC- ARDGC-02/01 |  | CTC Analytics | 129602 |  |
| GC | GC System- ARDGC-03/00 | Agilent | 7890B | US15223009 | 18/06/2019 |
|  | CTC- ARDGC-03/01 |  | GC Sampler 80 (G6501B) | CH00389168 |  |
| FTIR | RDIR-01 | Agilent Technologies | Cary 630 | US12331278 | 01/08/2019 |
|  | RDIR-01/01 |  |  | US12321199 |  |
|  | RDIR-01/02 |  | G8043-68305 | US12285073 |  |
|  | RDIR-01/03 |  | G8043-68310 | US12322317 |  |
| Photostability Chamber | RDPSC-01 | Thermolab Scientific Equipment’s | 413/10/12-13 | TP00000090G | 01/08/2019 |
| Cooling cabinet | ARDCC-01 | Thermolab | TC 800G | 593/12/13-14 | 01/07/2019 |
| Auto Titrator | ARDAUT-01 | Mettler Toledo | T-70 | B347015191 B348034338 | 25/07/2019 |
| KF | ARDKF-01 | Mettler Toledo | V30 | B317260954 | Under maintenance |
| KF | ARDKF-02 | Mettler Toledo | V30S | B921709680 | 03/07/2020 |
| Coulometer | ARDCM-01 | Mettler Toledo | C30S | B932092049 | 03/07/2020 |
|  | ARDCM-01/01 |  | InMotion KF Pro | B935185129 |  |
| Bio-safety Cabinet | ARDBSC-01 | Klenzaids contamination controls | - | 311/1213 | 02/09/2019 |
| Millipore System | ARDWPS-01 | Millipore | Advantage A10 | F2NA628918B | 08/07/2019 |
| Water Purified System RDT82 |  | Millipore | Elix Reference 10 | F9EA23029C |  |
| Glassware Washing Machine | ARDGWM-01 | Miele Professional | G7883 CD | 51/74373103 | 05/07/2019 |
| Hydrogen Gas Generator | HGG-01 | Domnick Hunter | 60 H | 19DHG0055 | 18/09/2019 |
| Micro Pipette (100µL) | ARDMPT-06 | Brand | -- | 20F95465 | - |
| Micro Pipette (1000µL) | ARDMPT-07 | Brand | -- | 19M87229 | - |
| Micro Pipette (5000µL) | ARDMPT-08 | Brand | -- | 20J55002 | - |
| GC | GC System-ARDGC-04/00 | Agilent | 7890B | CN20513005 | 17/05/2021 |
|  | Head Space with Transfer Line- ARDGC-04/01 |  | 7697A | CN20451005 |  |
|  | Auto Sampler (ALS)- ARDGC-04/02 |  | G4513A | CN15090105 |  |
| GC | GC System-ARDGC-05/00 | Agilent | 7890B | CN20513006 | 17/05/2021 |
|  | Head Space with Transfer Line-ARDGC-05/01 |  | 7697A | CN20451019 |  |
|  | Auto Sampler (ALS)- ARDGC-05/02 |  | G4513A | CN12230056 |  |
| pH Meter | ARDPH-01 | Mettler Toledo | pH meter: Seven Compact S210 | pH Meter: C050688775 | 27/07/2021 |
|  | Printer-ARDPH-01/01 |  | Printer: RS P25 | Printer: C101881835 |  |
| Stopwatch | ARDSW-01 | Racer | -- | -- |  |
| Centrifuge Machine | ARDCEN-01 | BOECO | SC-8 | 0000932-04 | 24/05/2021 |
| Vortex Mixer | ARDVTX-01 | IKA | Vortex-3 S022 | 06.231526 | 11/05/2021 |
| Sun Test Chamber | ARDSC-01 | ATLAS | Suntest XLS+ | 2101026 | 19/07/2021 |
| Digital Thermometer | ARDTM-01 | V-Kit | VKIT-1531 | 1531-0278 | - |
|  | ARDTM-01/01 |  |  | 1514-224 | - |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
|  | ARDTM-01/02 |  |  | 1519-422 | - |
|  | ARDTM-01/04 |  |  | 1516-782 | - |
|  | ARDTM-01/05 |  |  | 1516-783 | - |
|  | ARDTM-01/07 |  |  | 1517-557 |  |
| Ultrasonic Bath | ARDUB-03 | PCI Analytics | USB50LH DTC | 2187MAR2021 | 03/06/2021 |
| GC Flow meter | ARDGFM-02 | Agilent | G6691A | MY20170404 |  |
| Refrigerator | ARDREF-01 | Cole-parmer | 16340-14 | BE0F17E1T00QEM6H0009 | 01/11/2021 |
| Thermohygrometer | ARDTH-01 | Thermofisher | 1577-963 | 210701462 | - |
| Thermohygrometer | ARDTH-02 | Thermofisher | 1577-963 | 210701792 | - |
| Thermohygrometer | ARDTH-03 | Thermofisher | 1577-963 | 210701461 | - |
| Thermohygrometer | ARDTH-04 | Thermofisher | 1577-963 | 21701781 | - |
| HPLC | Detector- ARDHPLC-13/00 | Agilent | G7114A 1260VWD | DEACX26203 | 01/07/2022 |
|  | Thermostat-ARDHPLC-13/01 |  | G7116A 1260MCT | DEAED29341 |  |
|  | Autosampler- ARDHPLC-13/02 |  | G7129C 1260 Auto sampler | DEAGQ03236 |  |
|  | Pump- ARDHPLC-13/03 |  | G7104C 1260 Flexible pump | DEAGZ02663 |  |
| HPLC | Detector- ARDHPLC-14/00 | Agilent | G7114A 1260VWD | DEAC617255 | 01/07/2022 |
|  | Thermostat-ARDHPLC-14/01 |  | G7116A 1260MCT | DEAED29348 |  |
|  | Autosampler- ARDHPLC-14/02 |  | G7129C 1260 Auto sampler | DEAGQ03238 |  |
|  | Pump- ARDHPLC-14/03 |  | G7104C 1260 Flexible pump | DEAGZ02694 |  |
|  | CAD Detector ARDHPLC-14/04 | Thermo | Corona Veo RS | 8191030 |  |
| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| Centrifuge | ARDCEN-01 | BOECO | SC-8 | -- | 24/05/2021 |
| Oxygen sensor - I | -- | Ambirtronics engineering pvt ltd | GT-2500-FLP | 16880724 | - |
| Oxygen sensor - II | -- | Ambirtronics engineering pvt ltd | GT-2500-FLP | 5501119 | - |
| Hydrogen sensor | - | Ambirtronics engineering pvt ltd | GT2500-FLP | 5481119 | - |
| GC panel - I | 1-60 | Laser gases | -- | -- | - |
| Hydrogen Panel | 61-63 | -- | -- | -- | - |
| Air Panel | 63-66 | -- | -- | -- | - |
| Nitrogen Panel | 67-69 | -- | -- | -- | - |
| GC panel - II | 70-119 | PCI analytics | -- | -- | - |
| Change over | 120-128 | -- | -- | -- | - |
| Cylinder | 129-149 | -- | -- | -- | - |
| GC | GC System- ARDGC-06-00 | Agilent | 8890 (G3540A) | CN2225A068 | 20/04/2023 |
|  | Head Space with Transfer Line- ARDGC-06-01 |  | 7697A (G4557A) | CN22031201 |  |
|  | CTC PAL-3 ARDGC-06-02 |  | PAL RSI 85 | CH00607432 |  |
| Nitrogen generator | NG-01 | Parker | UHPN2-750C-E | 22GL0052 | 22/08/2022 |
| Nitrogen generator | ARDNG-02 | Peak Scientific | Genius 1053 | 723080001 | 10/10/2023 |
| Air generator | AG-01 | Parker | HPZA-7000-220 | HPZA70002200308A | 22/08/2022 |
| UV Spectrophotometer | ARDUV-01 | Mettler toledo | UV7 | C403462924 | 15/05/2024 |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
| De-humidifier | ARDDHF-01 | Bry-Air | FFB-600 | 2024BAP-04147 | 09/01/2025 |
| HPLC | Detector ARDHPLC-15/00 | Agilent | G7114A | DEACX40299 | 25/07/2024 |
|  | Thermostat ARDHPLC-15/01 |  | G7116A | DEAED47674 |  |
|  | Autosampler ARDHPLC-15/02 |  | G7129C | DEAGQ05291 |  |
|  | Pump ARDHPLC-15/03 |  | G7104C | DEAGZ04341 |  |
| HPLC | Detector ARDHPLC-16/00 | Agilent | G7114A | DEACX40338 | 25/07/2024 |
|  | Thermostat ARDHPLC-16/01 |  | G7116A | DEAED47683 |  |
|  | Autosampler ARDHPLC-16/02 |  | G7129C | DEAGQ05308 |  |
|  | Pump ARDHPLC-16/03 |  | G7104C | DEAGZ04343 |  |
|  | RID Detector ARDHPLC-16/04 |  | G7162A | DEAC910914 |  |
| HPLC | Detector ARDHPLC-17/00 | Agilent | G7114A | DEACX40301 | 25/07/2024 |
|  | Thermostat ARDHPLC-17/01 |  | G7116A | DEAED47677 |  |
|  | Autosampler ARDHPLC-17/02 |  | G7129C | DEAGQ05305 |  |
|  | Pump ARDHPLC-17/03 |  | G7104C | DEAGZ04346 |  |
| HPLC | Detector ARDHPLC-18/00 | Agilent | G7114A | DEACX40404 | 25/07/2024 |
|  | Thermostat ARDHPLC-18/01 |  | G7116A | DEAED47682 |  |
|  | Autosampler ARDHPLC-18/02 |  | G7129C | DEAGQ05307 |  |
|  | Pump ARDHPLC-18/03 |  | G7104C | DEAGZ04342 |  |
| GC | GC system ARDGC-07/00 | Agilent | 8890 (G3540A) | CN24114129 | 28/05/2024 |
|  | HS sampler ARDGC-07/01 |  | 7697A (G4557A) | CN23521011 |  |

| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| --- | --- | --- | --- | --- | --- |
|  | Liquid injector ARDGC-07/02 |  | 7650 (G4567A) | CN24048034 |  |
| Thermohygrometer | ARDTH-05 | Thermofisher | 1577-963 | 210701462 | - |
| pH Electrode | ARDEL-18 | Mettler Toledo | InLab Expert Pro-ISM | 4114571 | - |
| pH Electrode | ARDEL-19 | Mettler Toledo | InLab Expert Pro-ISM | 5500116 | - |
| SRD List |  |  |  |  |  |
| Precision Balance – 1.5 kg | SRDBAL-02 | Mettler Toledo |  |  | Not in Use |
| Precision Balance – 12 kg | SRDBAL-03 | Mettler Toledo |  |  | 20/02/2019 |
| Precision Balance – 6.2 kg | SRDBAL-04 | Sartorius |  |  | 27/08/2021 |
| Precision Balance – 6.2 kg | SRDBAL-05 | Sartorius |  |  | 05/06/2023 |
| Hastelloy -Autoclave | SRDAC-01 | M.K. Fabricators |  |  | Not in Use |
| Reactor System – 250 ml | SRDRS-01 | Radley’s |  |  | 05/03/2019 |
| Reactor System – 500 ml | SRDRS-02 | Radley’s |  |  | 05/03/2019 |
| Reactor System – 2000 ml | SRDRS-03 | Radley’s |  |  | 05/03/2019 |
| Reactor System – 3000 ml | SRDRS-04 | Diehm |  |  | 04/02/2022 |
| Reactor System – 1000 ml | SRDRS-05 | Diehm |  |  | 15/12/2021 |
| Reactor System – 5000 ml | SRDRS-06 | Diehm |  |  | 21/03/2023 |
| Rotary Evaporator | SRDRE-01 | Buchi |  |  | 15/05/2019 |
| Rotary Evaporator | SRDRE-02 | Buchi |  |  | 15/05/2019 |
| Rotary Evaporator | SRDRE-03 | Buchi |  |  | 15/05/2019 |
| Rotary Evaporator | SRDRE-04 | Heidolph |  |  | 15/05/2019 |
| Rotary Evaporator | SRDRE-05 | Heidolph |  |  | 15/05/2019 |
| Rota Evaporator with Chiller | SRDRE-06 | Heidolph | Hei-Chill 1100 Pro IN |  | 31/05/2024 |
| Vacuum oven | SRDVO-01 | Ganesh Scientific |  |  | 04/04/2019 |
| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| Vacuum oven | SRDVO-02 | Ganesh Scientific |  |  | 04/04/2019 |
| Vacuum oven | SRDVO-03 | Ganesh Scientific |  |  | 04/04/2019 |
| Vacuum oven | SRDVO-04 | Ganesh Scientific |  |  | 07/12/2021 |
| UV Cabinet | SRDUVC-01 | C. Abhay Kumar |  |  | 17/06/2019 |
| Carousel Reactor | SRDCR-01 | Radley’s |  |  | 05/03/2019 |
| Melting Point | SRDMP-01 | Veego |  |  | Not in use |
| Cryo circulator | SRDCC-01 | Julabo |  |  | 15/05/2019 |
| Ice Flaking machine | SRDIFM-01 | Blue Star |  |  | 25/05/2019 |
| Freezer | SRDFRZ-01 | Thermo Scientific |  |  | 20/02/2019 |
| Vacuum Pump (MPC 601 T) | SRDVP-01 | ILMVAC |  |  | 20/02/2019 |
| Vacuum Pump (MPC 601 T) | SRDVP-02 | ILMVAC |  |  | 20/02/2019 |
| Vacuum Pump (PC 620 select) | SRDVP-03 | Vacuubrand |  |  | 29/12/2021 |
| Vacuum Pump (PC3001 Vario) | SRDVP-04 | Vacuubrand |  |  | 30/06/2021 |
| Vacuum Pump (PC3001 Vario) | SRDVP-05 | Vacuubrand |  |  | 18/05/2022 |
| Vacuum Pump (RP 15C Vario) | SRDVP-06 | Vacuubrand |  |  | 05/03/2019 |
| Vacuum Pump (V700) | SRDRE-01/01 | Buchi |  |  | 15/05/2019 |
| Vacuum Pump (V700) | SRDRE-02/01 | Buchi |  |  | 15/05/2019 |
| Vacuum Pump (V700) | SRDRE-03/01 | Buchi |  |  | 15/05/2019 |
| Vacuum Pump (Rotavac Valve) | SRDRE-04/01 | Heidolph |  |  | 01/03/2019 |
| Vacuum Pump (Rotavac Valve) | SRDRE-05/01 | Heidolph |  |  | 01/03/2019 |
| pH Meter | SRDPH-01 | Lab India |  |  | 24/07/2019 |
| pH Meter | SRDPH-02 | Mettler |  |  | 26/06/2019 |
| Drying oven | SRDDO-01 | Thermo lab |  |  | 15/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-01 | Ganesh Scientific |  |  | 20/02/2019 |
| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| Water Bath 1.0 Ltr. | SRDWB-02 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-03 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-04 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-05 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-06 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 1.0 Ltr. | SRDWB-07 | Ganesh Scientific |  |  | 20/02/2019 |
| Water Bath 3.0 Ltr. | SRDWB-08 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 3.0 Ltr. | SRDWB-09 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-10 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-11 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-12 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-13 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-14 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-15 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-16 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-17 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-18 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 5.0 Ltr. | SRDWB-19 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 10.0 Ltr. | SRDWB-20 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 10.0 Ltr. | SRDWB-21 | Ganesh Scientific |  |  | 05/06/2019 |
| Water Bath 1.0 Ltr. | SRDWB-22 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-23 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-24 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-25 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-26 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-27 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 1.0 Ltr. | SRDWB-28 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 3.0 Ltr. | SRDWB-29 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 3.0 Ltr. | SRDWB-30 | Ganesh Scientific |  |  | 20/05/2024 |
| Water Bath 3.0 Ltr. | SRDWB-31 | Ganesh Scientific |  |  | 20/05/2024 |
| Oil Bath 1.0 Ltr. | SRDOB-01 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 1.0 Ltr. | SRDOB-02 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 1.0 Ltr. | SRDOB-03 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 1.0 Ltr. | SRDOB-04 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 3.0 Ltr. | SRDOB-05 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 3.0 Ltr. | SRDOB-06 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-07 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-08 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-09 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-10 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-11 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-12 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-13 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 5.0 Ltr. | SRDOB-14 | Ganesh Scientific |  |  | 05/06/2019 |
| Oil Bath 10.0 Ltr. | SRDOB-15 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 10.0 Ltr. | SRDOB-16 | Ganesh Scientific |  |  | 20/02/2019 |
| Oil Bath 10.0 Ltr. | SRDOB-17 | Ganesh Scientific |  |  | 20/02/2019 |
| Hot Plate with stirrer | SRDHP-01 | Remi |  |  | 15/02/2019 |
| Hot Plate with stirrer | SRDHP-02 | Remi |  |  | 15/02/2019 |
| Hot Plate with stirrer | SRDHP-03 | Galaxy |  |  | 29/04/2019 |
| Hot Plate with stirrer | SRDHP-04 | Galaxy |  |  | 29/04/2019 |
| 4B Isolator | SRDIS-01 | GMP Technical Solutions |  |  | 28/10/2021 |
| Huber Circulator | SRDHU-01 | Huber | Ministat-230 |  | 12/06/2019 |
| Huber Circulator | SRDHU-02 | Huber | Ministat-230 |  | 12/06/2019 |
| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| Huber Circulator | SRDHU-03 | Huber | Ministat-230 |  | 12/06/2019 |
| Huber Circulator | SRDHU-04 | Huber | CC 902 |  | 17/02/2022 |
| Huber Circulator | SRDHU-05 | Huber | CC 508 |  | 17/02/2022 |
| Petite Fleur Huber Circulator | SRDHU-06 | Huber |  |  | 11/06/2022 |
| Petite Fleur Huber Circulator | SRDHU-07 | Huber |  |  | 11/06/2022 |
| Stirrer | SRDST-01 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-02 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-03 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-04 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-05 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-06 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-07 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-08 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-09 | DBK |  |  | 04/03/2019 |
| Stirrer | SRDST-10 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-11 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-12 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-13 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-14 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-15 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-16 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-17 | DBK |  |  | 01/07/2019 |
| Stirrer | SRDST-18 | Heidolph |  |  | 20/02/2019 |
| Stirrer | SRDST-19 | IKA |  |  | 18/01/2022 |
| Stirrer | SRDST-20 | IKA |  |  | 18/01/2022 |
| Stirrer | SRDST-21 | IKA |  |  | 18/01/2022 |
| Instrument Name | Instrument Tag No. | Manufacturer | Model No. | Serial No. | Date of Installation |
| Stirrer | SRDST-22 | IKA |  |  | 18/01/2022 |
| Overhead Stirrer | SRDST-23 | Neuation |  |  | 01/09/2021 |
| Overhead Stirrer | SRDST-24 | Neuation |  |  | 01/09/2021 |
| Overhead Stirrer | SRDST-25 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-26 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-27 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-28 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-29 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-30 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-31 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-32 | Neuation |  |  | 04/03/2022 |
| Overhead Stirrer | SRDST-33 | Neuation |  |  | 04/03/2022 |
| Dosing Pump | SRDDP-01 | Ultra Fine Chem & Instrument | Simdos 02 |  | 25/05/2024 |
| Vacuum Gauge | SRDVG-01 | Vacuubrand |  |  | 29/04/2019 |